### Steel Fiber Reinforced Concrete Project

The Concrete Materials Research Institute (CMRI) , at the San Diego State University, Civil and Environmental Engineering Department, has reviewed mix design 813865P supplied by San Diego Ready Mix Concrete , utilized in the Steel Fiber Reinforced Concrete Project (SFRC).

MATERIALS

It is to our understanding the mix design was batched utilizing the following mix constituents:

#### Mitsubishi Cement

Based upon Mitsubishi Cement Company technical data, the cement complies with ASTM C150, “Standard Specifications for Portland Cement”.

- Phoenix Cement Flyash

Based upon Phoenix Cement Company’s technical data, the Four Corners Class F Flyash complies with ASTM C618, “Standard Specification for Flyash and Raw or Calcined Natural Pozzolan for Use as a Mineral Admixture in Portland Cement Concrete”.

- Superior Ready Mix Aggregate

Coarse aggregate 3/8” Canyon Rock-Mission Gorge and, Superior Blend, Washed Concrete Sand-Miramar Plant, fine aggregate. The aggregate laboratory test results indicate compliance with the requirements of ASTM C33, “Standard Specifications for Concrete Aggregates”.

- Master Builders Water Reducing Admixture

Based upon the Master Builders technical data the Pozzolith 322-N Type A water-reducing admixture complies with ASTM C494 “Chemical Admixtures for Concrete”.

### MIX DESIGN REVIEW

Mix 813865P

- Design Strength and Slump

The design compressive strength is 3000 psi at twenty-eight days of age. The design slump is 4 inches.

- Cementitious Content and Water to Cementitious Ratio

The mix has a Type II/V (Low Alkali) Portland cement content of 519 lbs and a flyash content of 92 lbs. We have calculated the flyash content (92 lbs) to be 15%  of the cementitious content (611 lbs). The mix has a maximum water to cementitious ratio of 0.59 lbs/lb.

- Aggregate

Coarse aggregate 3/8” Canyon Rock-Mission Gorge and, Superior Blend, Washed Concrete Sand-Miramar Plant, fine aggregate. The aggregate proportions are 49.9% coarse and 50.1% fine of the total aggregate by volume.  The fineness modulus for the fine aggregate was reported at 2.90, and the total fineness modulus at 4.38.

- Water Reducing Admixture

The dosage rate of Type A water reducing admixture is approximately 5.0 fluid ounces per 100 lbs. of cement.

- Air Content and Unit Weight

The mix has a design entrapped air content of 1.0 percent plus or minus 1.0 percent, and unit weight of 142.8 pounds per cubic foot.

- Strength History

No strength history was reviewed.

1) M. Ziad Bayasi, Ph.D, S.E., P.E., Associate Professor in charge of CMRI, Janusz Supernak, Ph.D, Department Chairman, Fang H. Chou, Ph.D, P.E., Advisor  and Assistant Dean.

2) The San Diego Ready Mix Concrete Company is a Division of Superior Ready Mix Concrete, L.P.  The surplus of concrete material was made possible by a contribution from the company via James P. Flowers.

3) See Appendix A for the referenced mix design, technical data.